## Slide 1
Resiliency Summit
July 10-11, 2024

## Slide 2
Welcome

## Slide 3
Executive Message
Jeff Place
Executive Vice President, Industry Strategy
INPO
Tammy Love
Vice President, Industry Performance
INPO

## Slide 4
The Role of Nuclear in
Resilient Critical Infrastructure
Tom Galloway
President and CEO
North American Transmission Forum
Mark Woodby
Director, R&D
Electric Power Research Institute
Jennifer Uhle
Vice President, Operations
Nuclear Energy Institute
Matt Rasmussen
Sr. Vice President, Engineering and Operations Support
Tennessee Valley Authority

## Slide 5: INPO Resilience Summit
Thomas J. Galloway, Sr.
NATF President & CEO
July 10, 2024
Open Distribution
Copyright © 2024 North American Transmission Forum (“NATF”). All rights reserved. Not for sale or commercial use. The NATF makes no and hereby disclaims all representations or warranties, either express or implied, relating to the content, including as to the accuracy or completeness of the information. No liability is assumed by the NATF for any damages arising directly or indirectly from the content or by the use or application thereof. Use of the content constitutes agreement to defend, indemnify, and hold the NATF harmless from and against all claims arising from such use.

## Slide 6: NATF Membership, Mission, Methods
Established after August 2003 Northeast blackout
199 member and affiliate utilities
>85% U.S./Canadian transmission
  HV Circuit miles, peak demand
Five member types
  IOU
  ISO/RTO
  Municipalities
  Co-operatives
  Federal/Provincial
NATF Mission
Promote excellence in the safe, reliable, secure, and resilient operation of the electric transmission system
Methods
Confidential venues to share lessons learned and best practices
      Peer Reviews
      Assistance
      Practice groups
      Metrics, OE

## Slide 7: Reliability AND Resilience
Northeast Blackout (2003)
  Trees, tools, training
  Vegetation contact
  Situational awareness issues
  Operator response LTA
Mandatory and enforceable reliability standards (2007)
Metcalf Event (2013)
  Multi-faceted physical attack
Security landscape evolving
  Nation-state threats, supply chain
Extreme weather
  Causes to most significant events
  Wildfire, drought, temp. extremes
  Hurricanes, tornados, flood
GMD/EMP
Grid Transformation

## Slide 8: Grid Transformation
Electrification (data-centers and EVs)
Use of artificial intelligence
Decarbonization – push for renewables
  Variable generation impacts grid operations
  Less inertia/frequency control
  New/unrecognized operating characteristics
Natural gas generation – JIT fuel supply
Cross-sector interdependence
Changes in daily; seasonal load peaks
Need transmission to connect source to load
  New transmission build; GETs

## Slide 10: NATF Resilience Efforts
Resilience definition (with EPRI-T)
  Prepare, anticipate, absorb, adapt, and recover
Annual resilience summits
  All hazards approach
  Socialize importance, relationship to reliability
  Summits focus on specific themes (incident response, particular hazard)
Practice documents (e.g., Supplemental Operating Strategies)
Focus on resilient communications
Transmission Resilience Maturity Model
  Developed by NATF, EPRI, DOE, PNNL
  Staff facilitated assessments
  Evaluate nine domains (risk management, supply chain, etc.)
  Aggregate results, channel focus
RESTORE – spare parts sharing program

## Slide 11: Resilience - Nuclear Role
Benefits
  Large, safe, reliable baseload units
  Onsite (in Reactor) fuel supply – 18 to 24 months
  Physically secure
  Carbon free
Potential Challenges
  Dispatchable, load following, ride-through?
  Blackstart capable?
  Cost/time to market?

## Slide 12
Questions?
Comments?

## Slide 13: Improving Energy Resiliency
Mark Woodby
Director, Plant Performance
INPO Resiliency Summit
July 10-11, 2024
Adapting to Natural Threats and Climate Change

## Slide 14
EPRI Climate Resilience and Adaptation Initiative (READi)
COMPREHENSIVE: Develop a Common Framework addressing the entirety of the power system, planning through operations
CONSISTENT: Provide an informed approach to climate risk assessment and strategic resilience planning that can be replicated
COLLABORATIVE: Drive stakeholder alignment on adaptation strategies for efficient and effective investment
Physical Climate Data & Guidance
Identify climate hazards and data required for different applications
Evaluate data availability, suitability, and methods for downscaling & localizing climate information
Address data gaps
Energy System & Asset Vulnerability Assessment
Evaluate vulnerability at the component, system, and market levels from planning to operations
Identify mitigation options from system to customer level
Enhance criteria for planning and operations to account for event probability and uncertainty
Resilience / Adaptation Planning & Prioritization
Assess power system and societal impacts: resilience metrics and value measures
Create guidance for optimal investment priorities
Develop cost-benefit analysis, risk mitigation, and adaptation strategies
Workstream 1
Workstream 2
Workstream 3
PHYSICAL CLIMATE HAZARD
VULNERABILITY ASSESSMENT
RESPONSE
PRIORITIZATION
Deliverables: Common Framework “Guidebooks”
Climate data assessment and application guidance
Vulnerability assessment
Risk mitigation investment
Recovery planning
Hardening technologies
Adaptation strategies
Research priorities

## Slide 15: Climate READi Affinity Group (CRAG)
Accenture
ADEX
AECOM
AEGIS
Alison Silverstein (Consultant)
Andre Dessler (Consultant)
Applied Weather Associates
Argonne National Laboratory
Baringa
Battelle
Black & Veatch
Brookhaven National Laboratory
CAMPUT
Canadian Climate Institute
CANDU Owners Group
CarbonPlan
CDP North America
Center for Climate & Energy Solutions
Central Research Institute of Electric Power Industry (CRIEPI)
Charles River Associates
Chemonics
Clark Miller (Consultant)
Clean Air Task Force
Climate Risk Institute
Columbia University
Copperleaf Technologies
Cornell University
CSA Group
Desert Research Institute
Disaster Tech
Eagle Rock Analytics
Earthmover
Eaton
Electricity Canada
Energy Systems Integration Group (ESIG)
Energy Networks Association
Enline Transmission
Exponent
EY Canada
Grid2.0
Grid Lab
Guidehouse
Houston Advanced Research Center (HARC)
ICF
IEEE
Imperial College London
Institute of Nuclear Power Operations (INPO)
Jacobs Engineering
Jupiter Intelligence
Khalifa University
King Abdullah Petroleum Studies and Research Center
King Abdullah University of Science and Technology
King’s College London
Korea Atomic Energy Research Institute
Lawrence Berkeley National Laboratory
Lawrence Livermore National Laboratory
McCormick Taylor
Michigan Technological University
Midwest Climate Collaborative
Model World Consulting
National Association of Regulatory Utility Commissioners (NARUC)
National Association of State Energy Officials (NASEO)
National Center for Atmospheric Research (NCAR)
National Oceanic and Atmospheric Administration (NOAA)
National Renewable Energy Laboratory (NREL)
North American Electric Reliability Corporation (NERC)
North American Transmission Forum (NATF)
Nuclear Energy Institute (NEI)
Nuclear Electric Insurance Limited (NEIL)
National Renewable Energy Laboratory (NREL)
Oak Ridge National Laboratory
Oregon State University
Pacific Northwest National Laboratory
Pacific Northwest Utilities Conference Committee
Pike Engineering
Power Systems Engineering Research Center
Quanta Services
RAND Corporation
Resources for the Future
RS Poles
RUNWITHIT Synthetics
Sharply Focused
SLR Consulting
Storm Impact
Sunairio
Union of Concerned Scientists
Universidad Pontificia
University of Albany
University of Arizona
University of Illinois
University of Michigan
University of Nottingham
University of Oklahoma
University of Reading
University of Saskatchewan
University of Toronto
Verdantas
Embracing a ‘Big-Tent’ Approach to Framework Development
Consultants
Finance and Insurance
ESG and Disclosure
Environ. NGOs
Academia/ Research Orgs
Industry Groups
National Laboratories
Regulators and Policy Makers
Codes and Standards Bodies

## Slide 16: Climate 101 Training Presentations
Climate Data, Models and Projections, and Extreme Events (Climate 101 Modules 1, 2 and 3)
Climate Hazard, Exposure, and Vulnerability Assessment (Climate 101 Modules 4, 5, and 6)
Climate READi Training (epri.com)
Module 1
Climate Data
Module 2
Climate Models, Emission Scenarios and Projection Data
Module 3
Trends and Understanding of Extreme Events

## Slide 17: Climate Risk Assessment
Climate Physical Risk Assessment and Decision Making
Requires knowing more than whether the climate is changing
Hazard? Are local physical conditions changing?
Exposure? What’s in harm’s way?
Vulnerability & Response? Does it matter? How might we respond?
Risk Management?
Is the risk large? What are robust and resilient strategies?
Data Requirements for Risk Assessment Applications
Source: EPRI. Grounding climate risk decisions: Physical climate risk assessment scientific foundation and guidance (#3002024246)
Past and potential local climate change
Structures, systems, components, operations, supply, infrastructure
Current and potential climate impacts and responses
Current and potential risks and risk management
Past and potential global climate change

## Slide 18: READi Asset Vulnerability Assessments
Scoping
  Establish desired goals
  Identify in-scope assets
  Assemble team
Consider hazards and exposure
Characterize vulnerability
Prepare results
  Summary of asset vulnerabilities
  Preliminary risk ranking
  Quantified risk to inform adaptation strategies
Asset Vulnerability Assessments: Considerations and Resources

## Slide 19: Nuclear Operational Experience for Weather
Highlight distinction between nuclear safety and operational impacts
Historical review of available US nuclear operating experience to weather-related events over past 10 years
Impact of weather-related events on capacity factor at US NPP plants
Discuss future research regarding forward looking climate vulnerability assessments
Nuclear Plant Resilience to Weather-related Events between 2011 to 2020

## Slide 20
Physical climate risk assessment
Future Weather Projections
Impact on Asset - Exposure & Vulnerability
Asset Management Program
Informed Design Approach
Ice
Precipitation
Temperature
Margin Reductions
Impact on Capacity Factor
Life Expectancy
Maintenance
Environmental Impacts & Compliance
Health & Safety
Extremes
Planning & Investment Prioritization
Adaptation Strategies

## Slide 21: Inventory of Adaptation Investments and Resilience Practices
A review and inventory of climate adaptation measures for the electric power sector

## Slide 23: Responding to the Unexpected with FLEX
July 10, 2024
Jennifer Uhle
VP, Technical & Regulatory Services

## Slide 24
March 11, 2011

## Slide 25
The impact of the tsunami was totally bigger than what we expected, trained, prepared for, or believed was possible— it was unimaginable. We must always be prepared for the possibility that something much bigger can happen.
  Ikuo Izawa
  Shift Manager, Fukushima Dai-ichi Units 1 and 2

## Slide 26
Prepare for external events
  PRA models originally focused on internal events
  External events dominate risk in operating & advanced reactors
  Probabilistic methods not available for all external events
  Uncertainty in external events is large
Maintain situational awareness
  Enhance understanding of external events through periodic reevaluations
Implement flexible response plans w/ installed & portable equipment
How Do We Prepare for the Unexpected?

## Slide 27
FLEX Program Overview

## Slide 28
Allows plants to reach safe state with extended LOOP & loss of ultimate heat sink
Enhances plant robustness to unexpected events
Reduces average core damage frequency by a factor of 2
Credited in risk-informed completion time programs thereby reducing unnecessary plant shutdowns
Factors into social license, especially with climate change questions
FLEX Benefits

## Slide 29
Key Takeaways
1. Fukushima focused more attention on external events
2. FLEX helps industry respond to the “unexpected”
3.
4. Operational resilience enhanced through FLEX
5. Situational awareness must be maintained
Ave. core damage frequency reduced by a factor of 2

## Slide 30: Eelgrass arrives at Browns Ferry Nuclear Plant
July 2025

## Slide 31: Zostera Marina

## Slide 32: TVA River System
Tennessee River is dammed into a series of 9 reservoirs.
Browns Ferry Nuclear Plant (BFN) is a three-unit BWR-4 on Wheeler Reservoir with 3,900 MW capacity
BFN operated over 40 years with no Eelgrass in Wheeler
Eelgrass has been prevalent in Guntersville reservoir for years
Small changes to Wheeler reservoir led to an explosion in Eelgrass growth in 2019-2020 (Situational Awareness)
Dam | River Miles
Wheeler | 74
Guntersville | 55

## Slide 33: Eelgrass
New to Wheeler Reservoir in 2019
Grows in depths of 10 feet or less. Likes low flow and low turbidity
Small root mass (breaks free in waves/storms)
Stays green and maintains shape and size after breaking free
Neutrally buoyant – can stay submerged in the water column
Can form floating masses which are directed by wind
Invasive variant confirmed in Wheeler

## Slide 34: Browns Ferry Intake Design
River is 40 feet deep at skimmer wall. Skimmer wall extends down into the river to block surface debris
Inlet flow can be over half of total river flow when it is as low as 10,000 CFS
To respond to debris at trash rack, BFN would run bucket excavator over the trash rack and spray TWS with fire hose (Inadequate Preparation which impacted our ability to Absorb and Respond)
In 2020, several ideas were going through plant health to address the new problem, including a new skimmer wall, new travelling water screen at skimmer wall, and new rake system at trash racks
Nothing implemented prior to 7/20/2020 when 2 units shutdown and 3rd unit de-rated (We didn’t develop plans)

## Slide 35: Immediate actions
Established Barge Bay with barges and booms
Established running Harvesters 24/7 in the barge bay and as needed in the forebay
Started weekly helicopter tours and air boat tours to monitor the amount of Eelgrass floating in the river and the amount growing
Risk levels based on amount of floating vegetation upstream, wind direction and amplitude

## Slide 36: Station Response (Adapt) – Talon Rake
Plant health approved mod to add automated raking to trash racks – 11/20
Contract engineering firm assisted with the design, was in operation – 7/21
Removes all debris from racks and places it in a dump trailer
Several maintenance and operation issues experienced as the station worked out the bugs and gained proficiency
Has been highly reliable since 2022 and has protected the station from several Eel grass runs as well as maintaining below 4” dP day to day, which is substantially better than previous design
The new trash racks were designed with tighter bar spacing to capture more biotic fouling, increasing protection for the systems downstream.
The rake designed specifically for the new trash racks and guided by them allowed capture and removal of material from the intake.
The rake applies force to biotic debris away from the travelling water screen system rather than toward it.

## Slide 37: Additional Monitoring, Adapt
Utilizing solar-powered visible spectrum cameras on transmission towers upstream of BFN, on barge wall, on skimmer wall, at Guntersville dam, and on the Talon dump trailer. These images are sent to a webpage approx. hourly so near real-time risk assessments can be made.
Utilizing turbidity monitor to predict growth rates
Implementing Echosounders to detect grass in the column
Implementing Wave monitors which will alert forecasters if wave activity will cause Eelgrass release
Greatly reduced the airboat and helicopter
The same group that provides river temperature and flow predictions now provide the Eelgrass risk level based on the above data.

## Slide 38: Impact of a Lack of Resiliency
3400 MWe lost on one of the hottest days of the year
12 days of outage time between 3 units
Over $10 million of cost for emergent response and projects

## Slide 39
The Role of Nuclear in
Resilient Critical Infrastructure
Discussion
4

## Slide 40
Break

## Slide 41
Analyzing the Principles
Strengths, Weaknesses, Opportunities, Barriers

## Slide 42: The Resiliency Model
Notes: The resiliency model provides an overview of the principles. Each of the seven elements you see here, which reflect the elements of the definition we looked at, correspond to one of the principles.

## Slide 43
Notes: The first three principles — Plan, Prepare and Situational Awareness — represent a steady-state condition in which resiliency is continuously being strengthened.
Plan is about identifying threats, assessing vulnerabilities and identifying and prioritizing actions. It also includes specifying roles & responsibilities, and the activities required to maintain proficiency as well as situational awareness for a given threat. The output of planning is a threat-specific strategy for each of the 4 threat categories that includes all the pertinent details to support implementation of the other principles.
Prepare is where you start to put the plan into action. You can prepare the plant by making physical changes to eliminate or mitigate specific vulnerabilities, and you prepare people by developing their proficiency – both technical and leadership proficiency - through training and other learning activities so they are ready to respond.
Situational awareness includes monitoring real time threat information and changes to threat projections, as well as internal monitoring of the current state of preparedness in the organization. In the model, situational awareness feeds back into plan and prepare, showing that these activities are ongoing and dynamic.
This portion of the model, the thick green ring, is intentionally emphasized because these 3 principles build the foundation of resiliency in the weeks, months and years before an event occurs. Many of the opportunities to advance resiliency are in taking a proactive approach and thinking through the range of possibilities in advance of an event.

## Slide 44
Notes: **highlight difference/separation between anticipate and A&R
The next three principles — Anticipate, Absorb & Respond, and Recover — describe the sequential phases that occur during external events. When you look at how this center portion connects to the outer ring, you see that it is actually an alternate flow path. With plans and preparations in place, and as you are maintaining situational awareness of applicable threats, inevitably a threat will materialize into an event and you’ll take a detour from the steady-state into the “Anticipate” principle.
When early warning of an event is possible, the anticipate principle provides guidance for just-in-time preparations and early response actions – for example, staging equipment or supplies, and making adjustments to response plans to account for variations in actual conditions vs what was expected.
The absorb and respond principle is a culmination of all the preceding principles – success in the face of an actual event is determined largely by the planning and preparing done in advance.
Next, recover is not just about restoring normal power operations, but also reestablishing readiness of the organization.
In the model, recover joins the outer ring back in the plan phase, signifying that after an event, there is an opportunity to learn from that experience and make any needed changes in the plans and preparations.
That takes us to the seventh principle, Adapt, which is woven across all the principles. It includes strategic adaptation, such as incorporating lessons from events as well as new information that comes from situational awareness. It also includes tactical adaptation, such as incorporating flexibility in plans and preparations so that people can adapt in the moment as circumstances change.

## Slide 45: 4 Threat Categories
Physical
Cyber
Indirect
Natural
Organizational
+
Physical Resiliency
Climate/Weather
Environmental
Seismic
Geomagnetic
External Grid Events
Supply Chain
Corporate IT Cyber Attack
Limited Site Access
Notes: We describe external threats in terms of 4 categories.
The first two are cyber and physical threats, for which the industry already has robust programs to guard against impacts to nuclear safety. In Appendix B of the Principles document, we acknowledge the existing regulatory scope for both of these threats and state that this document does not change that scope but that the principles should be used to identify enhancements to the existing programs, especially in the area of organizational resiliency.
Next is natural threats, which includes climate change, extreme weather, environmental and geological threats…so everything from hurricanes, to geomagnetic disturbances to a swarm of mayflies. You can see again the connection here to INPO 24-002, which has guidance for using a proactive approach to identify climate related threats at a station, determining any associated vulnerabilities in the plant, and developing a plan to address those vulnerabilities.
The final threat category is “indirect” – these are threats which may not directly impact plant operations but can impact the staff or community, or interdependent sectors. Examples include supply chain issues or a pandemic. As stations examine indirect threats, they should consider feasible combinations of threats and apply a risk-informed approach to determining the scope of the indirect threat-specific strategy.
AS I mentioned before, the resiliency principles account for both the physical and organizational aspects of resiliency for each threat category.

## Slide 46: Continuity of Operations and Nuclear Safety

## Slide 47: Analyzing the Principles
Strengths
What do we currently do well?
What is our strongest advantage?
(e.g., Standards, industry networking)
Weaknesses
Which principles need the most improvement?
What are other industries doing that we aren’t?
(e.g., Inconsistent approach, limited resources)
Opportunities
How can we apply new thinking or learn from others?
Are there trends or initiatives we can leverage?
(e.g., Benchmarking globally or with other industries, political climate, new technology)
Barriers
What factors could hinder our progress?
What are the communications or organizational pitfalls?
(e.g., Competing priorities, costs, misperceptions)
Internal/Current Factors
External/Future Factors
5

## Slide 48: Activity Instructions (Part 1)
Each table is assigned 1 element:
  Strengths (tables 1, 5, 9)
  Weaknesses (2, 6, 10)
  Opportunities (3, 7, 11)
  Barriers (4, 8, 12)
As a group, for each threat category (cyber, physical, natural, indirect), select the principle that is most representative for the nuclear industry.
  Use INPO 24-003 as a guide.
  Leverage the group’s experience and perceptions… there are no wrong answers!
Keep in mind…
  Physical and organizational aspects
  Continuity of operations
5
Notes: Facilitator Notes:
Timing
  Table/small group work – 30 min
  All “S” groups together, etc. (see instructions part 2) – 40 min (breakout room)
  Report outs – 35 min
Materials
  4 flip chart sized (26" x 36") posters of resiliency model (labeled at the top with “Strengths”, “Weaknesses”, “Opportunities”, and “Barriers”)
  4 flip chart easels
  4 sticky notes per group that say “Cyber”, “Physical”, “Natural” and “Indirect”
  Participant workbook, page 5
Part 1 Instructions
Each group is looking at all 4 threats and all 7 principles for a particular element of SWOB to gain familiarity with the key aspects of INPO 24-003.
Optimal group size is 4-6 people.
For example, a Strengths group will select the principle in which the nuclear industry is strongest in guarding against and withstanding cyber/physical/natural/indirect threats. An opportunities group will select the principle in which there is the most opportunity to improve or advance our resiliency for cyber/physical/natural/indirect threats.
Part 2 Instructions
If there are 8+ groups, use part 2 of the instructions and combine all the S groups, W groups, etc.
The larger groups will consider the results of the small groups and come up with one set of results, represented by sticky notes on a poster of the resiliency model.
The debate and discussion in the larger group allows for deeper understanding and consideration of diverse perspectives.
Ensure participants continue to refer to the standard (INPO 24-003).
Report Outs
Display the posters from all 4 groups for discussion
Get input from all groups one threat category at a time (i.e., cover S, W, O and B for natural; then move to cyber…).
Look for patterns to facilitate discussion. Did multiple groups select the same principle for a given threat? Did one group select the same principle for multiple threats? Did some principles get selected multiple times; did some principles not get selected at all? Why – what does this tell us about the principles, the threat categories, or the nuclear industry?

## Slide 49: Activity Instructions (Part 2)
Collaborate with like tables in breakout rooms to compare results and build consensus.
  Strengths: Room 206A
  Weaknesses: Room 206B
  Opportunities: Room 208
  Barriers: Room 209
Place a sticky note on your poster for each threat category.
Select a spokesperson to explain where you placed each threat category and why.
  Consider highlighting 1 or 2 attributes that were most compelling in making your decision.
5

## Slide 50: Principles SWOB Analysis: Discussion & Action Planning
6

## Slide 51
Keynote
Kimberly Cook-Nelson
Executive Vice President and Chief Nuclear Officer
Entergy Nuclear

## Slide 52: Resiliency in Practice
Kimberly Cook-Nelson Executive Vice President and Chief Nuclear Officer Entergy
July 2024

## Slide 53: Hurricane Katrina - 2005
Notes: With approximately 3,500 nuclear employees, Entergy is also recognized globally as a provider of nuclear services to companies in the U.S. and around the world.

## Slide 54: Hurricane Katrina - 2005

## Slide 55: Hurricane Gustav - 2008

## Slide 56: Hurricane timeline - Waterford
2005
2006
2007
2008
2009
2010
2011
2012
2013
2014
2015
2016
2017
2018
2019
2020
2021
Katrina (Cat 5)
Rita (Cat 3)
Gustav (Cat 2)
Isaac (Cat1)
Barry (Cat 1)
Laura (Cat 4)
Delta (Cat 2)
Zeta (Cat 3)
Ida (Cat 4)

## Slide 57: Hurricane Ida - 2020

## Slide 58: Hurricane Ida - Waterford 3
West Side RCA Access
Hazardous Waste Building

## Slide 59: Hurricane Ida - Waterford 3
4” standing water
Warehouse
Low Level Rad Waste Storage Facility

## Slide 60: Hurricane Ida - Waterford 3
Maintenance Service Building and Annex

## Slide 61: Hurricane Ida - response

## Slide 62: The Resiliency Model
Develop and maintain Plans to improve physical robustness to absorb and organizational readiness to respond to credible external threats.
Prepare for external events by increasing the physical capability to absorb impacts and the organizational readiness to respond.
Maintain Situational Awareness of real-time information and future projections to adapt plans and preparations.
Anticipate and mitigate impending and emerging challenges to continuously position the plant and organization for the best outcomes.
Absorb and Respond to event impacts to maintain continuity of operations without challenging nuclear safety.
Recover from external events by restoring stable plant conditions and operating margins and re-establishing readiness to respond.
Adapt plans and preparations to strengthen the capability to absorb and respond to external threats.
The Resiliency Principles

## Slide 63: Questions? Feedback?
7

## Slide 64
Applying the Principles
Case Studies

## Slide 65: Activity Instructions (Part 1)
Read the case study provided.
At your table, select 2 principles that would be most helpful for your client.
  Use INPO 24-003 as a guide.
  Choose 1 principle from Plan, Prepare, Situational Awareness AND choose 1 principle from Anticipate, Absorb & Respond, Recover.
    Incorporate the Adapt principle in your answer as appropriate.
Reminders:
  Leverage the group’s knowledge, experience and perceptions – there are no wrong answers!
  Keep in mind physical and organizational aspects.
9
Notes: Facilitator Notes:
Timing
Table/small group work – 25 min
All similar case study groups together (see instructions part 2) – 20 min (breakout room)
Report outs – 25 min
Materials
1 flip chart sized (26" x 36") poster of resiliency model
4 sticky notes that say “Cyber Attack”, “Wildfire”, “Road Washout” and “Supply Chain”
Participant workbook, pages 8-9
Case study handouts
Part 1 Instructions
Case Study assignments
  Wildfire – tables 1, 8, 11
  Road Washout – 2, 5, 12
  Supply Chain- 3, 6, 9
  Cyber Attack – 4, 7, 10
Optimal group size is 4-6 people.
The "adapt" principle cannot be selected as one of the 2 principles but can be highlighted within a selection. For example, the client organization needs to prepare better through training and drills, including adapting those activities by incorporating feedback and critiques; or, the organization needs to have a recovery plan that doesn't only fit a narrow set of circumstances but has built in flexibility so it can be adapted to different scenarios.
Part 2 Instructions
If there are 8+ groups, use part 2 of the instructions and combine the groups looking at the same case study.
The larger groups will consider the results of the small groups and come up with one, rather than two, principles.
The debate and discussion in the larger group allows for deeper understanding and consideration of diverse perspectives.
Ensure participants continue to refer to the standard (INPO 24-003).
Report Outs
Display one poster and have each group place a sticky note on the 1 principle they selected.
Get input from all groups on what they chose and why. The other groups can refer to summaries on page 8 of the workbook if they do not have all 4 case studies.
Look for patterns to facilitate discussion. Did multiple groups select the same principle (likely to be multiple “Plan”)? If so, why? Why not Prepare or Situational Awareness? Why did they select a steady state principle rather than an event sequence principle? What does this tell us about the nature of the principles? For Plan, what specifically was missing from the plan? Is it too easy to always point back to Plan?
What can we learn from these non-nuclear case studies to apply to our organizations? Would we give ourselves the same or different advice?

## Slide 66: Activity Instructions (Part 2)
Collaborate with like tables in breakout rooms to compare results and select the 1 principle that will be most valuable to your client.
  Wildfire: Room 206A
  Road Washout: Room 206B
  Supply Chain: Room 208
  Cyber Attack: Room 209
Select a spokesperson to explain which principle you selected and why.
  Consider highlighting 1 or 2 attributes that were most compelling in making your decision.
9

## Slide 67: Case Studies : Discussion & Action Planning
10

## Slide 68
Resiliency Summit
Day 2

## Slide 69
Resiliency Principles Implementation
Lisa Hilbert
Site Vice President
North Anna
John Krakuszeski
Site Vice President
Brunswick
Mark Newcomer
Sr. Vice President, Engineering and Technical Services
Constellation
Terry Rothmaier
Sr. Vice President, Governance Oversight Assessment Learning
Bruce
12

## Slide 70
Building a Resiliency Strategy

## Slide 71: Activity Instructions
Experts are predicting the next pandemic will occur in the next 3-5 years. Considering the expected organizational and physical impacts to your station or utility, how would you strengthen your threat-specific strategy?
Individually, identify 1 idea for your assigned Resiliency Principle and write it on a sticky note.
At your table, share and discuss each person’s sticky notes. Pick the top two ideas at your table – revisions are allowed!
Bin your 2 sticky notes on the associated flip charts in the front of the room.
13
Notes: Facilitator Notes:
Timing
Table/small group work – 25 min
Report outs – 25 min
Materials
6 flip charts or 3 flip charts subdivided to make 6 sections; each labeled with a principle (expect Adapt)
Sticky notes (one pad per table)
Workbook page 13
Instructions
The goal of the activity is to mimic how we might approach updating a threat-specific strategy using 24-003 but on a smaller scale and using a relatable example. We are looking at what we already have in place and looking for gaps and enhancements, considering new information about the threat.
Optimal group size is 6 people.
Within each group, assign one principle to each person. They will consider the scenario and identify a way to improve their organization’s threat strategy for their assigned principle to optimize resiliency to the described future threat. In other words, while we learned a lot from COVID, what do we need to do differently or better to be prepared for a new variation and future uncertainties.
The "adapt" principle is not specifically assigned but can be incorporated into any of the ideas generated.
The debate and discussion in the table group allows for deeper understanding and consideration of diverse perspectives.
Revisions may be made if the group wants to combine similar ideas or if the discussion results in additional clarity or new ideas.
Ensure participants continue to refer to the standard (INPO 24-003).
Report Outs
Have a flip chart (or half flip chart) labeled for each threat in the front of the room. Use the sticky notes places on these to facilitate discussion.
Depending on the number of items, get report outs on all or some, going principle by principle.
Facilitate discussion about common themes. Are there areas where we did better or worse in incorporating lessons from COVID? Today, do we have a flexible strategy that will work well for other scenarios or does this exercise show us where we might be unprepared for something new? How well are we maintaining a strategy on an ongoing basis?
Ask how elements of this activity can be used going forward to develop threat-specific strategies (i.e., diverse perspectives, getting specific input from each person, systematic approach of evaluating each principle).

## Slide 72: Building a Strategy: Discussion & Action Planning
14

## Slide 73: Action Planning
1516

## Slide 74
Next Steps

## Slide 75: INPO’s 2030 Resiliency Strategy
Continuously improve physical resilience.
Optimize resiliency in the future fleet.
Achieve uniform planning and preparation to respond.
Ensure unity of effort across the nuclear industry.
Leverage the IRC.
Be appropriately represented in national-level exercises.

## Slide 76: Nuclear Community
Resiliency Forums
INPO 24-003 Resiliency Resources (Public)
Resiliency Summit Group Members (Private)

## Slide 77: 2024-2025 Resiliency Implementation Timeline
Dec 2024
July 2024
July 2025
Dec 2025
Teaching & Learning “Hands-On" Workshops
Site/Fleet Implementation Plan Reviews and Assistance
Workshops & Assistance
Webcast on specific topics starting August 13, 13:00
July 10-11 and November 13-14 Resiliency Summits
International Roadshows
Sharing Best Practices
Teaching & Learning
Pilot Evaluation Method (if necessary)
Build it Together
Threat Strategy Template
Common Threat Strategies
Other?
INPO Department "How-Tos"
Resiliency WELL Sheet
Sept
2025
INPO 24-002
Assessments
Due

## Slide 78: Contacts
Scott Hawn
HawnRS@inpo.org
Resiliency & Climate Strategy
Martin Nganga
NgangaAW@inpo.org
Climate Assessments & Working Group
Genevieve Dukette
DuketteGV@inpo.org
Principles Document, Change Plan
Tammy Love
LoveTS@inpo.org
Executive Sponsor
Justin Lee
LeeJB@inpo.org
Nuclear Community

## Slide 79
Closing